| Location of Med Room: |  | Staff Participating: |  |
| --- | --- | --- | --- |

| STANDARDS AND ELEMENTS OF PERFORMANCE | Yes | No | Comments |
| --- | --- | --- | --- |
| List of high alert & hazardous medications posted (MM.01.01.03 EP 1) |  |  |  |
| List of Look Alike/Sound Alike meds posted (MM.01.02.01 EP 1) |  |  |  |
| LASA posting is current: must be reviewed annually and revised as needed (MM.01.02.01 EP 1) |  |  |  |
| Appropriate med storage - including daily fridge temps and not using dorm style fridges for vaccines (MM.03.01.01 EP 2) |  |  |  |
| Sample meds (if used): sample med log shows appropriate inventory and tracking (MM.03.01.01 EP 4) |  |  |  |
| Controlled drug count accurate (MM.03.01.01 EP 3) |  |  |  |
| Medication labeling: multi-dose vials labeled with 28-day expiration date (MM.03.01.01 EP 7) |  |  |  |
| No expired/damaged or contaminated meds in med room (MM.03.01.01 EP 8) |  |  |  |
| Emergency meds: accessible, locked; available in unit dose, age-specific, ready to administer forms whenever possible (MM.03.01.03 EP 1) |  |  |  |
| Emergency meds that are used or expired are replaced ASAP (MM.03.01.03 EP 6) DELETED |  |  |  |
| Meds appropriately labeled (MM.05.01.09 EP 2) |  |  |  |
| Meds appropriately administered (Observe med pass for “5 rights”) (MM.06.01.01 EP 3) |  |  |  |
| 2 Patient Identifiers used for med administration (NPSG.01.01.01 EP 1) |  |  |  |
| Before administering a new medication, pt. is informed of any potential clinically significant adverse drug reaction or other concerns (First Dose) (MM.06.01.01 EP 9) |  |  |  |
| When pain meds are administered, a pre and post pain assessment is documented (PC.01.02.07 EP 1) |  |  |  |
| GLUCOMETERS | Yes | No | Comments |
| Quality control checks done per manufacturer’s instructions (WT.04.01.01 EP 4) Note: Based on manufacturer’s instructions, hospital needs to determine how often QC checks will be done. This should be included in the waived testing policy. |  |  |  |
| Control solution and test strips labeled with 90-day discard date once opened - or per discard date specified in manufacturer’s instructions (WT.04.01.01 EP 4) |  |  |  |
| QC checks on glucometer include 2 levels of control (WT.04.01.01 EP 5) |  |  |  |