Expanded Review of Business Occupancy Sites by the Clinical Surveyors:

CMS wants a deeper dive of environment of care and life safety deficiencies in business occupancy sites that are under the hospital’s CCN number.  While the healthcare occupancies and ambulatory care occupancies site will be reviewed by the LSC surveyor, the TJC clinical surveyors will review the below key elements when they survey a sample of the business occupancies.

- Life Safety Code drawings

- Means of egress

- Locked/blocked exits

- Exit access

- Exit discharge illumination

- Battery back-up

- Corridor widths

- Corridor obstructions

- Visible exit signs

- Above ceiling

- Electrical outlets

- Electrical panels

- Safety Data Sheets (SDS)

- Smoke / fire barriers

- Fire extinguishers inspection

- Mounting/visibility of extinguishers

- Biohazardous/pharmaceutical waste

- Alcohol-based hand rub (ABHR) dispensers

- Eye wash stations

- Storage rooms

- Medical equipment

- High-level disinfection

- Cylinder storage

- Sprinklers / sprinkler systems

- Fire drills

- Security / access

FEATURES TO SURVEY

The list of elements was provided by TJC during a consultant’s forum and is a good punch list for the EOC reviews done. We recommend you incorporate this list of items into your readiness review or EOC review of clinics.

Barrins-assoc.com	Barrins & associates	Page 1