| Compliant |  |  | Category | Corrective Action Plan |
| --- | --- | --- | --- | --- |
| Yes | No | N/A |  |  |
|  |  |  | ID BADGES are worn by all employees. |  |
|  |  |  | EXIT DOORS, SMOKE AND FIRE DOORS - Exit doors are not blocked. - Exit doors are not locked. - There are no wood wedges or other devices to prop doors. - Doors to hazardous areas are labeled properly and only accessible to authorized staff. |  |
|  |  |  | HALLWAYS and STAIRWAYS - Hallways/stairways are free of clutter and storage. - Exit signs are fully illuminated and visible. |  |
|  |  |  | FIRE ALARM PULL STATIONS - Accessible; not blocked. |  |
|  |  |  | EVACUATION ROUTE MAPS - When posted in clinics, they are accurate. |  |
|  |  |  | FIRE EXTINGUISHERS - Fire extinguisher is not blocked; - Inspected monthly (tag is dated and initialed each month); and - Inspection tag is serviced by qualified company within the last year (punched out dates must be within the last year). |  |
|  |  |  | CLEANLINESS/DUST FREE - The work site is clean; and - The work site is dust free (no significant dust buildup). |  |
|  |  |  | WALLS, CEILINGS, and FLOORS - Ceiling tiles are not cracked, wet or stained; - Walls and ceilings are in good repair; - There are no damages or holes; and - Items are stored off the floor. |  |
|  |  |  | SPRINKLER HEADS - There is an 18” clearance under sprinkler heads; - There is nothing attached to them; - They are not bent/rusted; and - The ring is attached to the ceiling (no gaps/falling off). |  |
|  |  |  | HAND SANITIZER - Hand sanitizers are not empty; - Not installed less than one inch from light switches/electrical outlets. |  |
|  |  |  | CRASH CART (if applicable) - Checks are documented once a day. - EKG strip is printed daily when office is open; - Contains listed equipment and medications; and - Defibrillator pads and medications are not expired. |  |
|  |  |  | ELECTRIC PANEL is locked and not obstructed. |  |
|  |  |  | ELECTRIC OUTLETS/SWITCH PLATES/CORDS - Electric outlets/switch plates/cords are in good condition; and - Electrical extension cords and power strips are not in use. |  |
|  |  |  | DOORS TO BIOHAZARD AREAS are kept closed and labeled as such. |  |
|  |  |  | CARDBOARD BOXES - Cardboard boxes are not stored on the floor; and - External corrugated boxes are not utilized as storage. |  |
|  |  |  | There are no items stored UNDER THE SINK. |  |
|  |  |  | SHARPS CONTAINERS are secured/not overfilled. |  |
|  |  |  | TRASH BINS - Trash bins are not overflowing; and - Regular trash is not kept with Regulated Medical Waste. |  |
|  |  |  | PATIENT INFORMATION - Patient information is not visible/available; and - Computers are locked when unattended. |  |
|  |  |  | MEDICAL EQUIPMENT - Preventative maintenance tags are up-to-date; - Clean and dirty equipment are stored separately; - Clean equipment is not stored adjacent to hand washing sinks. - Out of service equipment is labeled as such; and - Medical equipment is cleaned with hospital-approved disinfectant. |  |
|  |  |  | NON-MEDICAL EQUIPMENT - Preventative maintenance tags are up-to-date; - Out of service equipment is labeled as such; and |  |
|  |  |  | FURNITURE, WHEEL CHAIRS, VINYL-COVERED MATTRESSES/CARTS - Items are not ripped or cracked; - There are no holes; and - They are cleaned with hospital-approved disinfectant. |  |
|  |  |  | MEDICATIONS/SUPPLIES - No sample medications in the clinic; - Peroxide, Betadine, etc. are labeled with 28 day expiration date after opening; - Check all drawers and cabinets for expired, damaged, and/or contaminated medications and supplies. - Medications are securely stored; and - Supplies are not stored adjacent to hand washing sinks. |  |
|  |  |  | OXYGEN TANKS - Oxygen tanks are located in a clearly labeled rack/cabinet (empty/partial in red cabinet/rack; full in green cabinet/rack); and - Are not left standing on the floor. |  |
|  |  |  | DOOR TO MEDICATION ROOM - Locked; - Door not propped open (lock not taped over); - Closes properly and latches; - Combination for lock is not posted near door; and - Key for medication not stored near the locked medications. |  |
|  |  |  | REFRIGERATOR/FREEZERS - Temperature log is complete (checked daily for medications/twice daily for vaccines); - Corrective action is noted for out-of-range values; - They are clean and frost free; and - Labeled for their use (staff, patient, medication, specimen, etc.). |  |
|  |  |  | LOOK ALIKE-SOUND ALIKE MEDICATIONS (LASA) - Stored per policy (stickers, separated, etc.); and - LASA list is posted or readily available - Staff are able to cite examples of LASA they use (if any) and how they avoid inadvertent substitution. |  |
|  |  |  | SINGLE/MULTI-DOSE VIALS - Single dose vials are used only once; - Multi-dose vials are labeled with the date they are to expire, which is 28 days after opening (except for vaccines); - Multi-dose vials taken into and drawn from in a patient care area (e.g., examination or procedure room) must be considered to be single use only and disposed of properly after use, and - There are no expired medications. |  |
|  |  |  | EYEWASH STATION testing is done per policy (documented once a week). |  |
|  |  |  | DISINFECTANT/CHEMICALS - Disinfectants/chemicals include manufacturer warning labels; - Have not passed expiration date; - Stored away from danger or children; and - SDS sheets are accessible and up-to-date. |  |
|  |  |  | HAZARDOUS MATERIALS are properly stored and labeled. |  |
|  |  |  | WAIVED TESTING SUPPLIES - Confirm test strips, kits, reagents and solutions are dated when received or opened; - Confirm quality control material open stability (expire X days after opening) are labeled appropriately; - Confirm storage requirements for temperature sensitive materials (refrigerated vs. room temp.) are labeled with the appropriate expiration dates (Refer to manufacturer package inserts); and - Not expired. |  |