HOSPITAL SURVEY CHECKLIST

This checklist organizes reminders to prepare your department for survey.

Communicate to Staff

N/A

Inform caregivers that surveyors are in house

Confirm caregivers are wearing their ID badge

Caregivers to update patient white boards

Hand Hygiene

Refrigerators

N/A

Patient food is labeled and dated (Pink label)

Stocked food items are not expired

Popsicles are in their box and if separated packaging is not torn or open

Refrigerator and Freezer log documented daily

Alarms are in the “ON” position, if applicable

Refrigerator is clean

Medications

N/A

No vials or other meds left unattended on WOWs

No needles/syringes left unattended

Pill splitters are clean and labeled

Multi-dose vial, dated if opened – expires 28 days

Check Pyxis for discrepancies; resolve

Medication refrigerator – used only for patient mediations

PHI

N/A

WOWs and Computer Screens log off or

Minimize screen to protect patient information

Do not leave your patient notes on WOW

Patient requisitions /labels are properly disposed

White boards in patient rooms are accurate

OR and ALL Procedural Areas

N/A

Use and wear PPE appropriately

Jewelry worn per policy

Hair is covered, ALL facial hair (Beard covers)

If cloth cap is worn, disposable cap must be worn over the cloth cap

Remove PPE, (masks, gloves) when leaving your restricted area and travelling in the common areas of the hospital

Soiled Utility Room

N/A

Only soiled items in this room; NO CLEAN ITEMS

Disposable instruments, dispose in sharps

Containers; Reusable instruments remove gross

Debris; open instrument; spray with Pre-Klenz; place in

biohazard labeled bin to return to CPD/SPD

Oxygen Cylinders

N/A

Full cylinder – needle is above xxx

EMPTY cylinder – needle is below xxx

ALL cylinders are secure

Environment

N/A

NO propped doors (Chairs or door wedges)

Hallways are clear, equipment is on the opposite side of the hallway of the fire exit (Stairwell)

DO NOT BLOCK:

-Fire Pull Stations

-Fire Doors

-Fire Exits

-Fire Extinguishers

-Medical Gas Shut Off Valves

No food or beverage at Nurse’s Station or in

Patient Care areas; use approved Hydration Stations

Emergency Equipment Log is completed and current; only current week and last week sheets are available. Write “Department Closed” if appropriate.

EKG electrode packages, dated if opened, expires in 45 days

Accu-chek testing solutions are open and dated with 90 day expiration date.

Cover clean linen; no items on top

Check sink splash zones

Check patients are appropriately in the correct

Isolation/correct sign on the door

Clean Supply Room

N/A

Only clean supplies

Check for expired supplies

-Vacutainers

-Culture Tubes

-Specialty dressings

-Specialty kits and trays

-Casting materials

-Infrequently used suture

-Infrequently used IV fluids

-No supplies with outer covering removed

(i.e. IV bags)

Supplies are 18” from ceiling/sprinkler head and 6” from the floor

No supplies stored on the floor

No cardboard boxes

Biohazard bags/red containers, not to be used for

storage

EMERGENCY OPERATOR – #xxx

R –Rescue			P - Pull

A - Activate Alarm			A – Aim the Nozzle

C – Contain			S - Squeeze Handle

E – Evacuate or Extinguish		S – Sweep the Base of Fire

Charge Nurse can shut off medical gas as instructed by Fire Marshall